| Building Address: |  | Building Owner: |  |
| --- | --- | --- | --- |
| Proposed use of Building: |  | Building Warrant ref: |  |
| State number and width of any escape stairs: |  | State fire resistance of the building elements(2): |  |
| State occupancy capacity for each storey and the building(3): |  | State number of final fire exits (4): |  |
| Evacuation Methodology (1) Simultaneous Phased Progressive Horizontal |  |  |  |
| Fire Safety Measures | Yes / No |  | Supporting Information |
| Are the recommendations for travel distance in the technical handbook guidance exceeded? If ‘Yes’ provide information | Yes No |  |  |
| Are there any ‘inner rooms’ in the building? (5) If ‘Yes’ provide information | Yes No |  |  |
| Is the building secured when occupied? (6) If ‘Yes’ provide information | Yes No |  |  |
| Does the building contain compartmentation / separation measures If ‘Yes’ provide information | Yes No |  |  |
| Do any passive fire safety measures depend on activation of fire detection system?(7) If ‘Yes’ provide information | Yes No |  |  |
| Has an automatic fire suppression system been installed? If ‘Yes’ provide information | Yes No |  |  |
| Has a fire alarm / detection system been installed? If ‘Yes’ provide category information | Yes No |  |  |
| Have additional fire safety measures been installed? (8) If ‘Yes’ provide information | Yes No |  |  |
| Does the means of access, water supply and facilities for the Fire and Rescue Service accord with technical handbooks guidance? | Yes No |  |  |
| Is there dry / wet riser installed? | Yes No |  |  |
| Are fire-fighting lifts installed? | Yes No |  |  |
| Have any commissioning certificates and maintenance schedules been provided?(9) | Yes No |  |  |
| Excluding normal maintenance, provide information on any fire safety measures that rely on management actions or intervention?(10) : |  |  |  |
| Other Relevant Fire Safety Information |  |  |  |

Authorisation by relevant person or duly authorised agent(11)

I confirm that this fire safety design summary is a true and accurate record of the building’s fire safety measures. Signed – [relevant person/duly authorised agent*] Dated – Print name – [relevant person/duly authorised agent*] Position – *Delete as appropriate

1.      Evacuation methodology for the building - In most buildings, the evacuation strategy will be for 	occupants to evacuate a building immediately on becoming aware of a fire. This is called 	simultaneous evacuation. In some larger buildings, however, the evacuation strategy allows those 	occupants most at risk to be evacuated first. This evacuation strategy relies on the building having 	additional fire safety measures installed in the building and may either be:

- phased, where some occupants evacuate parts of the building before others; or

- progressive horizontal evacuation, where occupants leave the compartment of fire origin to adjacent compartments leading to a storey exit.

2.	Fire resistance of building elements – In order to prevent the premature collapse or failure of 	load-bearing structural elements or compartment /separation elements of a building in a fire, 	appropriate levels of fire resistance should be provided.

3.	Occupancy capacity - Is the maximum number of people expected in a space dependent on the 	area and use of that space, for example whether the occupants will be seated, standing, etc.

4.	Number of exits – When a room or storey requires 2 or more escape routes it is assumed that in the 	event of a fire one of the escape routes may be compromised by fire. As a consequence, the 	remaining exits will still allow the occupants sufficient time to safely leave the storey without delay.

5.	Inner room - Means a room from which escape is possible only bypassing through another 	room, known as an access room. Occupants within an inner room could become trapped where 	there is an outbreak of fire in the adjoining access room.

6.	Securing the building – Doors used for means of escape should be kept unlocked at all times when 	people are in the building. Removable security fastenings such as shutters,	chains, bars, padlocks, 	etc. should be removed from all doors, on exit routes when the building is occupied to ensure the 	occupants opportunity for escape is not compromised.

7.	A number of passive fire safety measures depend on activation of fire detection systems – 	For 	example: Fire doors, dampers, fire shutters, magnetic hold open devices etc.

8.	Additional fire safety measures – In some buildings it may not always be possible to achieve the 	minimum standards set in the Technical Handbook guidance. In such circumstances additional 	compensatory factors may have been used to achieve a satisfactory level of fire safety. For example: 	Additional compartmentation provided, smoke control or pressurization systems, smoke curtains etc.

9.	Commissioning certificates - Any certificates and supporting test results should be complete and in a recognised format. They should provide clear and concise information to building owner, including manufacturer’s operating instructions for all equipment fitted.

10.	Building management - The management of a building is an integral part of a fire strategy. While it is out with the scope of the Building (Scotland) Act 2003, developers and builders should note the importance of providing the occupants with information on the use of the equipment and on its maintenance.

11.	Relevant person/duly authorised agent - The relevant person must submit their completion certificate when the building is complete, confirming that the building has been constructed in accordance with the relevant building warrant.  A Fire Safety Design Summary must be provided with completion certificates relating to the construction of, or conversion to, new non–domestic buildings, including extensions to existing buildings.  Where the relevant person does not have the appropriate training, knowledge and expertise to be aware of the hazards and risks involved, then the Fire Safety Design Summary may be signed by an authorised agent on behalf of the relevant person.