|  | Place Building Standards Burns House Burns Statue Square Ayr KA7 1UT Tel: 01292 616253 Fax: 01292 616263 E-mail: building.standards:south-ayrshire.gov.uk Web: www.south-ayrshire.gov.uk/building standards |
| --- | --- |

FORM 89-2

THE CIVIC GOVERNMENT (SCOTLAND) ACT 1982 : SECTION 89

DESIGN CERTIFICATE FOR THE ERECTION OF A RAISED STRUCTURE

I hereby certify that in support of my application for permission to erect a raised structure at:

for the purpose of

the structure has been designed in accordance with the recommendations of British Standard BS 5950; “the Structural Use of Steelwork in Building; BS EN 12811 – 1:2003 “Temporary Works Equipment – Part 1 Scaffolds – Performance Requirement and General Design”; BS 5975 : 1996 “Code of Practice for Falsework”.

Steel tubes and fittings should comply with BS 1139 and aluminium tubes and fittings should comply with BS 8118 – 1.

I also certify that the structure will be adequately supported on firm ground of the required bearing capacity, or otherwise adequately supported (give details of structure including access and means of escape).

Before putting the structure into use a Certificate of Completion of Erection must be signed and returned to the Building Standards Service, Burns House, Burns Statue Square, Ayr.

Signed

Name and Address of Practice

Full member of Institution of Civil Engineers*/Corporate Member of the Institution of Structural Engineers*

Date of becoming Full/Corporate Member

*Delete as appropriate

NOTES

Vertical Loading:

The structure should be designed to withstand the imposed loadings given in Table 1 of BS 6399 : Part 1 : 1996.  These loadings vary depending on the use of the structure.

Horizontal Loading:

a)	Notional Horizontal Loading: Notional horizontal loads should be applied as specified in the various materials design codes.

b)	Wind Loading: Wind loads should be taken into account when the structure is erected outdoors, or adjacent to large openings to the outside of a building.  The wind loads should be derived from either CP3: Ch V:Part 2, or BS 6399:Part 2.  The basic wind speed for South Ayrshire is 51m/s when using CP3 and 24.5m/s when using BS 6399.

c)	Horizontal Loading to Handrails etc: Handrails, balustrades, etc should be designed to resist the loads specified in Table 4 of BS6399:Part 1:1996.  Where the raised structure is bounded by walls, they should also be designed to resist these loads.  In addition, fixings should also be designed to transfer the loads to the structure.

Note that handrails and balustrades to stairs should also be designed to resist these loads.

Drawings:

Drawings should be supplied showing the structural details.  The details should include structural member type, size and centres, connection details, fixing details, etc.

The drawings should show the structure that is intended to be erected in South Ayrshire and should be supplied as soon as possible to allow time for checking.

Calculations should relate to the structure as shown on the drawings.

Site Erection:

Erection of the structure should be supervised by a responsible person with experience of the erection of similar structures.

Where the structure is to be erected outdoors, a competent person should carry out a prior site visit to check that the location is suitable.  Points to be considered should include; does the ground slope sharply or undulate, does the surface have sufficient bearing capacity, are there any overhead cables, underground services, etc.

General:

Useful guidance is given in the publication “Temporary Demountable Structures – guidance on procurement, design and use”, Third Edition by The Institution of Structural Engineers 2007; and in the “Guide to Safety at Sports Grounds” (The “Green Guide”) Fifth Edition 2008.

The appropriate Structural Eurocodes may be utilised.

Top/BS/ADMIN/APPS&FORMS/RAISEDSTRUCTURE89-2

Feb 2016